# Building indoor and outdoor telecommunication equipment

planning/ drawing approval/ test/ examination/ inspection application form

A Basic Information（to be filled by building constructor）	Date:__________(mm/dd/yy)

| Constructor | Name (or name of the oompany) |  | Date of birth |  | Tel |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Address ID No or business registration No |  | Mailing address |  | Building permit number |  |
| Designer | Name |  | Operation license level number |  | Tel |  |
|  | Company name and business registration No. |  | Address of the company |  |
| Contractor | Name of telecommunication engineering enterprise |  | Registration license number |  | Registration number of telecommunication engineering enterprise association |  |
|  | Name of electrical system business |  | Registration license number |  | Registration number of electrical engineering system business association |  |
|  | Vat numbers |  |  |  |  |  |  |  |  |  |  |  |  | Address of the company |  | Tel |  |
| Building information | Location |  |
|  | Name of the building |  | Total floor area: m2 | Construction base area: m2 |
|  | Construction period | From (mm/yy) to (mm/yy) | Tel on site |  |
|  | Purpose of usage | □residence □office □business operation □hospital □school □other |
|  | No of pairs or volume | □Total No. of pairs of cables pairs □Customer’s side inner lines of light cable lines | No of stories and residence unit | Underground floor | Aboveground floor | Total building stories unit |
| Telecommunication room equipments | □ 1.Telecommmunication room is required for： □more than 24 lines in the Customer’s side optical fiber cable in the building □Buildings with 5 floors above floor and basemen □ 2.No telecommunication room is required for： □less than 24 lines in the Customer’s side optical fiber cable in the building Building with less than 4 stories aboveground Building with more than 5 floors aboveground, but no basement Input cable pairs are no more than 20 pairs. | Total number of pairs of recommended cable or communication volume (port)/size of telecommunication room： □ Less than 200 and telecommunication room is required/2.6～7㎡(0.8 ～ 2 pin) □ 201～600/7～14㎡(2 ～ 4 pin) □ 601～1000 /14～20㎡(4 ～ 6 pin) □ 1001～2000/20～30㎡(6 ～ 9 pin) □ 2001～4000/30～43㎡(9 ～13 pin) □ 4001～6000/43～59㎡(13 ～18 pin) □ More than 6001 / Decided by telecommunication service provider, building constructor and owner of the building through negotiation |
| Attached information for examination | Checklist of building telecommunication equipment design and related design drawings(include floor plan, vertical ascending chart, building base location chart) with 2 copies for each item. |
| Remark | 1.There is 4 copies for this application form with one copy held by building constructor, one for the examination institution, one will be sent for Directorate General of Telecommunications after examination completion and one for local Internet service provider after completion. 2.Enlosed telecommunication equipment design checklist and design drawing shall be made into 2 copies with one held by examination institution and one by constructor after examination completion. 3.For buildings that has no name, “NO” should be filled in the blank of “name of the building”. 4.The drawing attached by constructor based on building management decree should be handled separately according to decree. 5. Contractor shall attach photocopy of registration license and membership certificate of association for verification |

B. Planning：（to be filled by local internet service provider）	Date:__________(mm/dd/yy)

| Company name |  | Business registration number |  |  |  |  |  |  |  |  | Company address |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Items to be noted during construction | Install pipe | □ Silts mm tube, place(s) □ Underground mm pipe, place(s) | remark |  | Name of supervisor |  | Tel |  | Company stamp |  |
|  | □Telecommunication room or □Main wire box | □ underground floor □aboveground floor | Area size： ㎡ ( pin) |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Name of the agent |  | Tel |  |  |  |
|  | Discuss the cable location for pipe installation and telecommunication room wire box |  |  |  |  |  |  |  |  |

C. Reviewing certificate of design drawing：（to be filled by issuing person according to building laws and engineer laws）	Date:__________(mm/dd/yy)

| VISA issuing person | Name |  | Operation license level number |  | Tel |  | stamp visa issuance staff |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Company name Business registration number |  |  | Company address |  |  |  |

D. Drawing approval：（to be filled by examination institution）    examination fee category：□ A1 □ B1 □ C1 □ D1 □ E1 □ A2 □ B2 □ C2 □ D2 □ E2□ A3 □ B3 □ C3 □ D3 □ E3	Date:__________(mm/dd/yy)

| Examination institution | Name |  | Address |  | Examination institution approval |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Examination person | Name |  | Engineer license number |  | Tel |  |  |  |
| Remark | If disqualified after examination, note the builder by official document to re-apply for examining according to the rules. |  |  |

E. Test：（to be tested and filled by architect or professional technician）	Date:__________(mm/dd/yy)

| □Professional technician □Architect | Name |  | Operation license level number |  | □architect □professional technician |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Company name Business registration number |  | Company address |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | visa |  |
| Remark | Visa in this column should be as same as that in the building indoor outdoor telecommunication equipment test/ examination record |  |  |

F. Examination：（to be examined and filled by drawing approval examination institution）	Date:__________(mm/dd/yy)

| Examination institution | Name |  | address |  | Visa approval by examination institution |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Examination person | name |  | Technician license number |  | Tel |  |  |  |
| Remark | If disqualified after examination, another written notice will be sent to return this application form (with examination information attached). Constructor may re-apply for examination. |  |  |

# Text boxes

No：

Appendix II