# Building indoor and outdoor telecommunication equipment
Appendix III
No：
planning/ drawing approval/ test/ examination/ inspection operation flow chart

Professional technician or architect
Builder
Reviewing or inspection institute
Local network business operator
Attaching information below (1 form, 3 copies):
1.application form
2.telecommunication equipment design list
3.design drawing of telecommunication equipment
(1) floor plan,
(2) vertical riser diagram,
(3) construction base location drawing

Apply
Confirm the
location and capacity of tele-
communication drop line, telecommunication room, main
distribution box and cable?
Reviewing approval
Return 2 copies of application form, telecommunication equipment design list and design drawing of telecommunication equipment
Return 2 copies of application form, telecommunication equipment design list and design drawing of telecommunication equipment
Keep 1 copy application form, telecommunication equipment design list and design drawing of telecommunication equipment
Collect documents and examiniation fees.
Granting reception note
Attaching relevant information and apply to the competent authority of buildings for construction according to architecture act
After receiving the request note of amendment, shall amend within 2 months, the amendment deadline may extend once but shall not be more than 2 months.
Examination approval?
Amendment within deadline?
Denial of application
Examinationapproval??
Return 1 approved copy of application form, telecommunication equipment design list and design drawing of telecommunication equipment
sign in the reviewing column of the application form
Keep 1 copy application form, telecommunication equipment design list and design drawing of telecommunication equipment
After completion of structure of the building, please contact the handling personal of local network business operator
Handle the affairs of introducing and tubing the building-telecommunication equipment
After installation of building-telecommunication- equipment, attaching following information:
1. 1 copy of examined application form.
2. 1form, 2 copies of indoor/outdoor building-telecommunication-equipment detecting record table
3. 1 copy of building-telecommunication-equipment construction completion checking report issued by architect or professional technician.
4. One disc copy of telecommunication equipment of design drawing.
Collect documents and examiniation fees
After receiving the request note of amendment, shall amend within 2 months, the amendment deadline may extend once but shall not be more than 2 months.
Examination approval?
Amendment within deadline?
Denial of application
Examination approval?
Issuing documents of examination approval
Sign in the following documents
1. application form and examing record table
2. application form kept in the time of reviewing drawings
Apply for certificate of reviewing approval?
Collect certificate fee
Granting certificate of examination approval
Attaching one copy of certificate of examination approval and disc.
Apply for telecommunication service
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
No
No
No
No
No
No
No
No